## Sheet
# | Description | Quantity | UOM | Dry Price | Dry Amount | Selling Price | Selling Amount | Remark
1 | DRAINAGE INSTALLATIONS | [7 empty] | Total Dry Amount | Total Selling Amount
| Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications and on the Drawings and to the complete satisfaction and approval of the Engineer and all concerned Statutory Authorities and under the following sections. | [7 empty] | 904.1300000000001 | 904.1300000000001
DRAINAGE INSTALLATIONS
Pipe work of any kind (waste, soil, condensate, vent,
rainwater) including fittings, rodding eyes, protection barriers,
supports, accessories, etc., complete
(include horizontal and vertical installation buried in concrete
or ground or above ground as per drawings)
1.1 | Dia 32 mm - WP | 130 | m | 6.5600000000000005 | 852.8000000000001 | 6.5600000000000005 | 852.8000000000001
| Generator Set | 1 | no | 1.1 | 1.1 |  |  | 2.02
| 1C x 6mm2 XLPE/PVC/SWA/PVC | 2 | m | 1.73 | 3.46 |  |  | 4
| De-Humidifier | 2 | no | 1.0 | 2.0 |  |  | 42
1.2 | Dia 40 mm - WP | 12 | m
1.3 | Dia 50 mm - WP | 48 | m
1.4 | Dia 50 mm - WP | 18 | m
1.5 | Dia 82 mm - WP | 181 | m
1.6 | Dia 110 mm - WP | 376 | m
1.7 | Dia 50 mm - VP | 20 | m
1.8 | Dia 82 mm - VP | 287 | m
1.9 | Dia 110 mm - SP | 112 | m
1.10 | Dia 75 mm - RW | 97 | m
1.11 | Dia 100 mm - RW | 180 | m
1.12 | Dia 110 mm-SP pipe below ground | 156 | m
1.13 | Dia 160 mm - SP pipe below ground | 205 | m
1.14 | Floor Trap (FT) | 144 | no.
1.15 | Floor clean out (FCO) | 30 | no.
1.16 | Rain water outlet | 27 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in
the Specifications…... (cont'd.)
DRAINAGE INSTALLATIONS, (cont'd.)
Supply, installation, testing and commissioning of associated
drainage works .......cont'd.)
1.17 | Manholes | 17 | no.
1.18 | Gully Trap - GT | 13 | no.
1.19 | Rain water opening - 200 mm dia along the road side | 18 | no.
Generally for the complete drainage installation
1.20 | Manuals, approvals & instruction books | 1 | item
1.21 | Testing and commissioning | 1 | item
1.22 | Training | 1 | item
1.23 | Labels, special tools, etc. | 1 | item
1.24 | Protective, technical and directional painting | 1 | item
1.25 | Liaison and co-ordination with Local Authorities | 1 | item
Additional Item
1.26 | Dia 200 mm - SP pipe below ground | 120 | m
1.27 | Car Park Drain | 12 | no.
1.28 | Lifting Pump Station | 4 | no.
2 | WATERSUPPLY INSTALLATIONS
Supply, installation, testing and commissioning of duty and stand-by pumps including all interconnections piping, level indicators, inertia bases, control panels, wirings, mountings, valves, strainers, conduits, interlocks, flexible connections, gauges etc. complete as per specification and drawings
2.1 | Boosted cold water pump with VFD 1 duty +1 standby BCWS -01 | 1 | set
2.2 | Hot water returned pump with VFD 1 duty +1 standby DHWR -01 | 1 | set
Supply, installation, testing and commissioning of solar water heater including all collectors,pumps, interconnections piping, level indicators, inertia bases, control panels, wirings, mountings, piping, valves, strainers, conduits, interlocks, flexible connections, gauges etc. complete as per specification and drawings
2.3 | Solar water heator | 1 | Item
2.4 | Hot water storage tank (HWST-01) | 1 | no.
2.5 | Hot water storage tank (HWST-02) | 1 | no.
Piping works
Supply, installation, testing and commissioning of piping, fittings, supports, hangers, identification, pipe drops and making good etc. as per specification and drawings.
Cold water supply pipes
2.6 | Dia 15mm | 110 | m
2.7 | Dia 20mm | 120 | m
2.8 | Dia 25mm | 80 | m
2.9 | Dia 32mm | 128 | m
2.10 | Dia 50mm | 60 | m
2.11 | Dia 65mm | 32 | m
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
WATERSUPPLY INSTALLATIONS, (cont'd.)
2.12 | Dia 15mm | 68
2.13 | Dia 20mm | 45
2.14 | Dia 25mm | 84
2.15 | Dia 32mm | 114
2.16 | Isolation Valves (Varying sizes) | 1 | item
2.17 | Non Return Valve (Varying sizes) | 1 | item
2.18 | Bib tap | 1 | item
Generally for the complete Plumbing installation
2.19 | Manuals, approvals & instruction books | 1 | item
2.20 | Testing and commissioning | 1 | item
2.21 | Training | 1 | item
2.22 | Labels, special tools, etc. | 1 | item
2.23 | Protective, technical and directional painting | 1 | item
2.24 | Liaison and co-ordination with Local Authorities | 1 | item
Additional Item
2.25 | Water Tank Inlet Connection | 1 | item
2.26 | Dewa Water Meter | 1 | item
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
3 | FIRE FIGHTING INSTALLATIONS
Pump set including all controls, control panels, wiring, valves, piping, accessories, vibration isolators, pressure gauges etc. complete
3.1 | Fire fighting & sprinkler combined pump set (UL/FM) Electric - 1000GPM @ 10 BAR Diesel - Standby 1000GPM @ 10 BAR Jockey - 10GPM @ 10 BAR | 1 | Item
3.2 | Exhaust pipeline from pump to exhaust outlet | 1 | Item
3.3 | Water tank connection including fittings, float valves, vent pipes, accessories, valves, supports, warning pipes, ladders, partition low and high level float switches, etc. Complete | 1 | Item
3.4 | Connection to water tank including inlet, outlet, drainage, backwash line, overflow pipe, test pipes etc. complete | 1 | Item
Supply and installation of fire fighting piping with accessories. Including supports, valves, vent cowl, etc. complete.
3.5 | 25mm dia | 1546 | m
3.6 | 32mm dia | 543 | m
3.7 | 40mm dia | 563 | m
3.8 | 50mm dia | 732 | m
3.9 | 65mm dia | 218 | m
3.10 | 80mm dia | 138 | m
3.11 | 100mm dia | 298 | m
3.12 | 150mm dia | 440 | m
3.13 | 200mm dia | 68 | m
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
FIRE FIGHTING INSTALLATIONS, (cont'd.)
Sprinkler head including fittings, fixtures, accessories, etc.complete.
3.14 | Side wall sprinkler head | 6 | no.
3.15 | Concealed sprinkler head | 648 | no.
3.16 | Upright sprinkler head | 939 | no.
The following items including accessories, supports, etc. Complete
3.17 | DCP fire extingusher 4.5 Kg | 6 | no.
3.18 | DCP fire extingusher 6Kg | 2 | no.
3.19 | 5 Kg CO2 portable fire extinguisher | 7 | no.
3.20 | Foam trolley type fire extingusher 20Gal | 5 | no.
3.21 | Zone control vlave 150mm dia | 9 | no.
Fire hose reel cabinet including 30m length hose reel, 5 kg dry powder fire extinguisher, 4.5 kg CO2 fire extinguisher , pressure reducing valve, lock shield valve, nozzle, fittings fixtures, etc. complete
3.22 | FHC | 13 | no.
Special fire suppression system of Foam type / FM-200 type including cylinders, valves, piping, detector, sounder, control panel etc. complete as specified
3.23 | Telephone room (12.81 sqm) | 1 | no.
3.24 | Control room (26.08 sqm) | 1 | no.
Special deluge system including all pipes, valves, sensors sprinkler, valve assemply etc. to complete as specified.
3.25 | Deluge system | 1 | Item
Breaching inlet in MS box with stainless steel architrave and stainless steel wired glass door
3.26 | Breaching inlet | 1 | Item
3.27 | Automatic Air release valve | 1 | Item
Generally for the complete Fire fighting installation
3.28 | Manuals, approvals & instruction books | 1 | item
3.29 | Testing and commissioning | 1 | item
3.30 | Training | 1 | item
3.31 | Labels, special tools, etc. | 1 | item
3.32 | Protective, technical and directional painting | 1 | item
3.33 | Liaison and co-ordination with Local Authorities | 1 | item
4 | AIR-CONDITIONING INSTALLATIONS
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fresh air handling units including controls, control valves, filters, strainers, sensors, wiring, fixing accessories, vibration, isolators, sand trap louvers, exhaust louvers, etc. complete
4.1 | FAHU -01, air flow 4875L/s | 1 | no.
4.2 | FAHU -02, air flow 3424L/s | 1 | no.
Supply and installation of extract fans, including all supports, fixtures, wiring,fixing accessories,louvers, etc. to complete
Car Park Extract fan
4.3 | CPEF -01, 5100 L/s, 2 Hrs Fire rated | 1 | no.
4.4 | CPEF -02, 5100 L/s, 2 Hrs Fire rated | 1 | no.
4.5 | CPEF -03, 5100 L/s, 2 Hrs Fire rated | 1 | no.
4.6 | CPEF -04, 5100 L/s, 2 Hrs Fire rated | 1 | no.
Smoke Extract fan
4.7 | RF- SMEF -01, 4480 L/s | 1 | no.
Smoke Makeup fan
4.8 | RF- SMF-01, 1270 L/s | 1 | no.
4.9 | RF- SMF-02, 1270 L/s | 1 | no.
4.10 | RF- SMF-03, 1270 L/s | 1 | no.
4.11 | CO sensor with indicator | 9 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fan Coil Units including controls,, wiring, fixing, accessories, vibration isolators, thermostats, control panel, air vents, flexible connections, etc. complete.
4.12 | BF - FCU -01 | 1 | no.
4.13 | BF - FCU -02 | 1 | no.
4.14 | BF - FCU -03 | 1 | no.
4.15 | GF - FCU -01 | 1 | no.
4.16 | GF - FCU -01A | 1 | no.
4.17 | GF - FCU -02 | 1 | no.
4.18 | GF - FCU -02A | 1 | no.
4.19 | GF - FCU -03 | 1 | no.
4.20 | GF - FCU -04 | 1 | no.
4.21 | GF - FCU -05 | 1 | no.
4.22 | GF - FCU -06 | 1 | no.
4.23 | GF - FCU -07 | 1 | no.
4.24 | GF - FCU -08 | 1 | no.
4.25 | GF - FCU -09 | 1 | no.
4.26 | GF - FCU -10 | 1 | no.
4.27 | GF - FCU -11 | 1 | no.
4.28 | GF - FCU -12 | 1 | no.
4.29 | GF - FCU -13 | 1 | no.
4.30 | GF - FCU -14 | 1 | no.
4.31 | GF - FCU -14A | 2 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fan Coil Units …….cont'd.
4.32 | GF - FCU -15 | 1 | no.
4.33 | GF - FCU -15A | 1 | no.
4.34 | GF - FCU -16 | 1 | no.
4.35 | GF - FCU -17 | 1 | no.
4.36 | GF - FCU -18 | 1 | no. | 51.33 | 51.33 | 51.33 | 51.33
| GI ERW Pipes 25mm | 2 | m | 8.18 | 16.36 |  |  | test
| CHWP Polyolefin Insu 150mm dia, 25mm thk | 1 | m | 34.97 | 34.97 |  |  | test1
4.37 | GF - FCU -19 | 1 | no.
4.38 | GF - FCU -20 | 1 | no.
4.39 | GF - FCU -21 | 1 | no.
4.40 | GF - FCU -22 | 1 | no.
4.41 | GF - FCU -23 | 1 | no.
4.42 | GF - FCU -24 | 1 | no.
4.43 | GF - FCU -25 | 1 | no.
4.44 | GF - FCU -25A | 1 | no.
4.45 | GF - FCU -25B | 1 | no.
4.46 | GF - FCU -26 | 1 | no.
4.47 | GF - FCU -26A | 1 | no.
4.48 | GF - FCU -27 | 1 | no.
4.49 | GF - FCU -27A | 1 | no.
4.50 | GF - FCU -28 | 1 | no.
4.51 | GF - FCU -28A | 1 | no.
4.52 | GF - FCU -29 | 1 | no.
4.53 | GF - FCU -30 | 1 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fan Coil Units …….cont'd.
4.54 | FF - FCU -01 | 1 | no.
4.55 | FF - FCU -02 | 1 | no.
4.56 | FF - FCU -03 | 1 | no.
4.57 | FF - FCU -04 | 1 | no.
4.58 | FF - FCU -05 | 1 | no.
4.59 | FF - FCU -05A | 1 | no.
4.60 | FF - FCU -06 | 1 | no.
4.61 | FF - FCU -06A | 1 | no.
4.62 | FF - FCU -07 | 1 | no.
4.63 | FF - FCU -08 | 1 | no.
4.64 | FF - FCU -09 | 1 | no.
4.65 | FF - FCU -10 | 1 | no.
4.66 | FF - FCU -11 | 1 | no.
4.67 | FF - FCU -11A | 1 | no.
4.68 | FF - FCU -12 | 1 | no.
4.69 | FF - FCU -12A | 1 | no.
4.70 | FF - FCU -13 | 1 | no.
4.71 | FF - FCU -14 | 1 | no.
4.72 | FF - FCU -15 | 1 | no.
4.73 | FF - FCU -16 | 1 | no.
4.74 | FF - FCU -17 | 1 | no.
4.75 | FF - FCU -18 | 1 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fan Coil Units …….cont'd.
4.76 | FF - FCU -19 | 1 | no.
4.77 | FF - FCU -20 | 1 | no.
4.78 | FF - FCU -20A | 1 | no.
4.79 | FF - FCU -21 | 1 | no.
4.80 | FF - FCU -21A | 1 | no.
4.81 | FF - FCU -21B | 1 | no.
4.82 | FF - FCU -22 | 1 | no.
4.83 | FF - FCU -22A | 1 | no.
4.84 | FF - FCU -22B | 1 | no.
4.85 | SF-FCU -01 | 1 | no.
4.86 | SF-FCU -02 | 1 | no.
4.87 | SF-FCU -03 | 1 | no.
4.88 | SF-FCU -04 | 1 | no.
4.89 | SF-FCU -05 | 1 | no.
4.90 | SF-FCU -06 | 1 | no.
4.91 | SF-FCU -07 | 1 | no.
4.92 | SF-FCU -07A | 1 | no.
4.93 | SF-FCU -07B | 1 | no.
4.94 | SF-FCU -08 | 1 | no.
4.95 | SF-FCU -08A | 1 | no.
4.96 | SF-FCU -08B | 1 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Fan Coil Units …….cont'd.
4.97 | SF-FCU -09 | 1 | no.
4.98 | SF-FCU -10 | 1 | no.
4.99 | SF-FCU -10A | 1 | no.
4.100 | SF-FCU -10B | 1 | no.
4.101 | SF-FCU -11 | 1 | no.
4.102 | SF-FCU -12 | 1 | no.
4.103 | SF-FCU -12A | 1 | no.
4.104 | SF-FCU -12B | 1 | no.
4.105 | SF-FCU -13 | 1 | no.
4.106 | SF-FCU -14 | 1 | no.
4.107 | SF-FCU -15 | 1 | no.
4.108 | SF-FCU -16 | 1 | no.
4.109 | SF-FCU -17 | 1 | no.
4.110 | SF-FCU -18 | 1 | no.
4.111 | SF-FCU -18A | 1 | no.
4.112 | SF-FCU -19 | 1 | no.
4.113 | SF-FCU -19A | 1 | no.
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Supply and installation of duct works with thermal acoustic lining, joints, supports, sensors, mesh, insulation access cover, plenum, flexible, dampers, VCD etc. complete
4.114 | Carpark extract air duct | 883 | m2
4.115 | Smoke extract / makeup air duct | 462 | m2
4.116 | Fresh air duct , various sizes | 614 | m2
4.117 | Toilet extract air duct various sizes | 948 | m2
4.118 | Supply air duct various sizes | 251 | m2
4.119 | Return air duct various sizes | 269 | m2
4.120 | Fire damper as per DCD approval (all sizes) | 1 | item
4.121 | Volume control damper (all sizes) | 1 | item
4.122 | Motorized damper (all sizes) | 1 | item
4.123 | Supply and installation of grill and diffuser including all accessories etc. complete | 1 | item
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
AIR-CONDITIONING INSTALLATIONS
Generally for the complete Air Conditioning system installation
4.124 | Manuals, approvals & instruction books | 1 | item
4.125 | Testing and commissioning | 1 | item
4.126 | Training | 1 | item
4.127 | Labels, special tools, etc. | 1 | item
4.128 | Protective, technical and directional painting | 1 | item
4.129 | Liaison and co-ordination with Local Authorities | 1 | item
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
Additional Item
4.130 | Fan Coil Unit | 9 | Nos.
4.131 | Air Handling Unit, AHU-01 - 2440 L/s | 1 | Nos.
4.132 | Air Handling Unit, AHU-01A - 2440 L/s | 1 | Nos.
4.133 | Air Handling Unit, AHU-02 - 3424 L/s | 1 | Nos.
5 | LPG SYSTEM
LPG System
Supply and installation, testing and commissioning of LPG system including all connections, pipes, control panel, gas detectors, tank ,valves, fittings, accessories, etc. to complete.
5.1 | Cylinderical LPG tank | 1 | no.
5.2 | Pressure reducing & Distribution panel | 1 | item
5.3 | Gas leak detector | 1 | item
5.4 | Emergency gas on off switch | 1 | item
5.5 | Valves and fittings | 1 | item
5.6 | Dia 50 C.S pipe SCH 40 | 1 | item
5.7 | Dia 32 C.S pipe SCH 40 | 1 | item
5.8 | Dia 25 C.S pipe SCH 40 | 1 | item
5.9 | Gas filling point with lickable door | 1 | item
5.10 | Ventilated trench | 1 | item
5.11 | Any other items as required to complete. | 1 | item
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the supply &amp;amp;amp; complete installation as detailed in the Specifications…... (cont'd.)
LPG System
Generally for the complete Air Conditioning system installation
5.12 | Manuals, approvals & instruction books | 1 | item
5.13 | Testing and commissioning | 1 | item
5.14 | Training | 1 | item
5.15 | Labels, special tools, etc. | 1 | item
5.16 | Protective, technical and directional painting | 1 | item
5.17 | Liaison and co-ordination with Local Authorities | 1 | item
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
6 | SANITARY FITTINGS &amp;amp;amp; FIXTURES
Supply &amp;amp;amp; fix of sanitary ware. taps and accessories including angle valves, bottle traps, waste outlets, traps, connections to hot and cold water supplies and wastes, complete; all in accordance with the drawings and specifications to complete.
6.1 | Water closet including cistern | 50 | no.
(PC rate for supply only Dhs. 1000/no.)
6.2 | Water closet to handicap toilet | 8 | no.
(PC rate for supply only Dhs. 1000/no.)
6.3 | Wash basin | 51 | no.
(PC rate for supply only Dhs. 400/no.)
6.4 | Pedestal wash basin | 9 | no.
(PC rate for supply only Dhs. 400/no.)
6.5 | Urinals | 11 | no.
(PC rate for supply only Dhs. 400/no.)
6.6 | Urinal partition | 6 | no.
(PC rate for supply only Dhs. 400/no.)
6.7 | Janitor sink | 2 | no.
(PC rate for supply only Dhs. 400/no.)
6.8 | Flexible hose (shattaf) | 58 | no.
(PC rate for supply only Dhs. 100/no.)
6.9 | Mixers for washbasin | 60 | no.
(PC rate for supply only Dhs. 250/no.)
6.10 | Soap dispenser | 12 | no.
(PC rate for supply only Dhs. 75/no.)
6.11 | Sower mixer | 9 | no.
(PC rate for supply only Dhs. 400/no.)
6.12 | Accessories for handicap toilet | 8 | set
MECHANICAL ENGINEERING INSTALLATIONS, (cont'd.)
Generally The Contractor shall list and price below, the items and quantities of addition or deduction for any Bill of Quantity Item(s) and or any omitted items that in his opinion are necessary for the full and satisfactory completion of the work as described in the Specifications or shown on the Drawings and for which either expressed or implied provision is required and which are not covered by the items or the rates in the Bill of Quantities. Any such items not listed below shall be deemed to be included.
7 | ELECTRICAL ENGINEERING INSTALLATIONS
Include for the complete supply &amp;amp;amp; installation as detailed in the Specifications and on the Drawings and to the complete satisfaction and approval of the Engineer and all concerned Statutory Authorities and under the following section
LIGHTING AND POWER
Main, Sub main Distribution boards and Distribution boards including MCCB's, breakers, terminations, isolators, busbar, enclosure, associated works supports, accessories, etc. complete
7.1 | LV panel 01 | 2 | no.
7.2 | Capacitor Bank - as per specifications and drawing | 2 | no.
SMDB (LV Room)
7.3 | SMDB-BF | 1 | no.
7.4 | SMDB-GF | 1 | no.
7.5 | SMDB-FF | 1 | no.
7.6 | SMDB-SF | 1 | no.
7.7 | SMDB-RF | 1 | no.
7.8 | MCC-BF-GEN | 1 | no.
7.9 | DB-BF | 1 | no.
7.10 | LCP-BF | 1 | no.
7.11 | DB1-GF | 1 | no.
7.12 | DB2-GF | 1 | no.
7.13 | DB-DT | 1 | no.
7.14 | LCP1-GF | 1 | no.
7.15 | LCP2-GF | 1 | no.
7.16 | DB1-FF | 1 | no.
7.17 | DB2-FF | 1 | no.
7.18 | DB-FNL | 1 | no.
7.19 | DB-UPS | 1 | no.
7.20 | LCP1-FF | 1 | no.
7.21 | LCP2-FF | 1 | no.
7.22 | DB1-2F | 1 | no.
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.
LIGHTING AND POWER, (cont'd.)
7.23 | DB2-2F | 1 | no.
7.24 | LCP1-2F | 1 | no.
7.25 | LCP2-2F | 1 | no.
7.26 | DB1-RF | 1 | no.
7.27 | DB2-RF | 1 | no.
7.28 | Control panels | 1 | item
7.29 | Single phase isalator | 184 | no.
7.30 | Three phase isolator | 69 | no.
7.31 | FB1 | 4 | no.
7.32 | FB2 | 7 | no.
7.33 | FB3 | 6 | no.
7.34 | 45A DP switch with neon indicator | 6 | no.
7.35 | 13A Single switched socket outlet | 93
7.36 | 13A Twin switched socket outlet | 306
7.37 | 13A switched spur outlet | 125
7.38 | Cooker control unit | 6
7.39 | Allow for works for DEWA main incoming cable connection works including attendances as required by DEWA works for transformer cables, Kwh meters, etc. for works directly carried-out by DEWA. | 1 | LS
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
LIGHTING AND POWER, (cont'd.)
Cabling works including, tray, accessories, support, UPVC duct, termination, glanding, cable tie, identification etc. complete
7.40 | From LV panel to SMDB-NEW, DB's ,Capacitor bank | 1 | item
7.41 | From LV panel to Fire Pump Room CP | 1 | item
7.42 | From LV panel to water booster pump | 1 | item
7.43 | From SMDB NEW to DB's & Isolators | 1 | item
7.44 | From SMDB-NEW to SMDB-VRF | 1 | item
7.45 | From SMDB VRF to Isolators | 1 | item
7.46 | From SMDB-NEW to FAHU-01 CP | 1 | item
7.47 | From SMDB VRF to Isolators | 1 | item
7.48 | From Fire pump room CP to Fire Pump | 1 | item
7.49 | From Fire pump room CP to Jockey and Diesel Pump | 1 | item
7.50 | From Isolators to HVAC equipment | 1 | item
7.51 | From Isolators to MDF equipment | 1 | item
7.52 | From Isolators to other equipment | 1 | item
Wiring including trunking and conduits, wiring, wiring accessories in final sub circuits all complete
7.53 | Push Switch | 18 | no.
7.54 | Override switch | 22 | no.
7.55 | One way switch (1 Gang) | 110 | no.
7.56 | One way switch (2 Gang) | 15 | no.
7.57 | Two way switch (1 Gang) | 18 | no.
7.58 | Containment for AC works | 1 | item
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
LIGHTING AND POWER, (cont'd.)
Lighting
Installation of light fixtures, including wiring, containment, cabling civil foundation, poles, mast, accessories, switching, wiring accessories etc. all complete (Only light fixtures supply under Provisional Sum)
7.59 | Type F1 | 109 | no.
7.60 | Type -F2 | 14 | no.
7.61 | Type C/MS | 27 | no.
7.62 | Type A | 437 | no.
7.63 | Type -A1 | 20 | no.
7.64 | Type -A2 | 4 | no.
7.65 | Type C | 26 | no.
7.66 | Type C1 | 26 | no.
7.67 | Type -C2 | 42 | no.
7.68 | Type C3 | 94 | no.
7.69 | Type C4 | 15 | no.
7.70 | Type C5 | 106 | no.
7.71 | Type C6 | 4 | no.
7.72 | Type C7 | 5 | no.
7.73 | Type -A | 20 | no.
7.74 | Type -A2 | 4 | no.
7.75 | Type -M1 | 30 | no.
7.76 | Type W1 | 2 | no.
7.77 | Type W2 | 4 | no.
7.78 | Motion Sensor | 31 | no.
7.79 | Occupancy sensor | 11 | no.
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
LIGHTING AND POWER, (cont'd.)
Earthing system and Lightening Protection
7.80 | Earthing pits including all cables, earth rods, e-bars, pits, cover accessories, etc. complete. | 1 | item
7.81 | 25 x 3 mm bare copper tape for air termination network installed around roof perimeter | 1 | item
7.82 | Lightening protection conductor, air terminals etc. as required Main earth terminal | 1 | item
7.83 | Main earth terminal | 1 | item
8 | FIRE ALARM, PAVA AND EMERCENCY LIGHTING
Equipment and accessories, cables including tray, trunking and conduits complete with supports and accessories as per drawings and specification and in compliance with DCD requirement.
8.1 | Fire alarm control panel, analogue control panel | 1 | no.
8.2 | Addressable optical smoke detector | 169 | no.
8.3 | Addressable optical heat detector | 8 | no.
8.4 | Addressable smoke detector with LED indicator | 152 | no.
8.5 | Fire Alarm breakglass | 27 | no.
8.6 | Fire Alarm sounder | 0 | no.
8.7 | Fire Alarm sounder with flasher | 5 | no.
8.8 | Fire Alarm sounder with flasher, weather proof | 13 | no.
8.9 | Ceiling mounted voice evacuation speaker | 125 | no.
8.10 | Wall mounted voice evacuation speaker | 14 | no.
8.11 | Ceiling mounted voice evacuation speaker with flasher | 19 | no.
8.12 | Wall mounted voice evacuation speaker with flasher | 9 | no.
8.13 | Interface modules | 1 | item
8.14 | Integration with existing FA system | 1 | item
8.15 | Voice evacuation control panel | 1 | no.
8.16 | Emergency light monitoring panel | 1 | no.
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
FIRE ALARM, PAVA AND EMERCENCY LIGHTING ….. (cont'd.)
8.17 | 1 x 4W LED emergency luminaire surface mounted type with self contained Battery backup rated for 3Hrs, IP20 | 37 | no.
1 x 4W LED emergency luminaire recessed mounted type with self
8.18 | contained Battery backup rated for 3Hrs, IP20 | 154 | no.
1 x 6.5W LED emergency luminaire surface mounted type with self
8.19 | contained Battery backup rated for 3Hrs, IP20 | 47 | no.
1 x 11W LED emergency wall surface mounted type with self
8.20 | contained Battery backup rated for 3Hrs, IP20 | 14 | no.
1 x 4W LED emergency exit sign above door with self contained
8.21 | battery backup rated for 3Hrs, IP54 | 38 | no.
1 x 4W LED Arrow indicates directional emergency sign with self
8.22 | contained Battery backup rated for 3Hrs, IP54 | 50 | no.
8.23 | Optical Beam Detector (Transmitter) | 2 | no.
8.24 | Optical Beam Detector (Receiver) | 2 | no.
8.25 | Fire jack | 15 | no
8.26 | Interface with Civil defense central monitoring system (24 x 7) | 1 | item
8.27 | Integration with Bell System as per drawings | 1 | item
8.28 | Any other item required to complete this system. | 1 | item
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
9 | SECURITY SYSTEM
Equipment and accessories, cables including tray, trunking and conduits complete with supports and accessories as per drawings and specification and in compliance with authorities requirement
CCTV
9.1 | Bullet type outdoor Camera weather proof | 41 | no.
9.2 | Bullet type outdoor Camera | 5 | no.
9.3 | Doom indoor camera | 27 | no.
9.4 | ANPR Camera | 2 | no.
9.5 | CCTV rack | 1 | item
9.6 | LED Video Colour Monitors - 19" | 1 | Item
9.7 | Network video recorder | 1 | Item
9.8 | Cable tray/trunking and conduiting, back boxes etc. with cable | 1 | item
9.9 | Termination, patching labelling etc. all completed | 1 | item
9.10 | Card reader | 17 | no.
9.11 | Push Button | 22 | no.
9.12 | Magnetic lock | 21 | no.
9.13 | Photo cell | 1 | no.
9.14 | Access control panel and associated items | 1 | Item
9.15 | Other essential components, equipment And accessories. | 1 | item
Specialist Contractor's responsibility get approval from SIRA and incorporating and comments prior to commence the work at site.
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Include for the complete supply &amp;amp;amp; installation as detailed the Specifications and on the Drawings …. etc. (cont'd.)
10 | VOICE AND DATA SYSTEM
Equipment and accessories, cables including tray, trunking and conduits complete with supports and accessories as per drawings and specification and in compliance with Du/ Etisalat
10.1 | RJ45 single outlet | 144 | no
10.2 | RJ45 single outlet - Table mounted | 22 | no
10.3 | Dual RJ45 outlet | 52 | no
10.4 | WIFI point | 73 | no
10.5 | Floor box -FB1 | 4 | no.
10.6 | Floor box -FB2 | 4 | no.
10.7 | Floor box -FB3 | 6 | no.
10.8 | 12U cabinet MDF | 2 | no
10.9 | 24 x 7 panel installation, termination | 1 | no.
10.10 | 42U Racks | 2 | no.
10.11 | Cable tray/trunking and conduiting, back boxes etc. with cable etc to | 1 | item
complete.
10.12 | 150mm HRDF cable tray | 383 | m
10.13 | 200mm HRDF cable tray | 360 | m
10.14 | 300mm HRDF cable tray | 83 | m
10.15 | 450mm HRDF cable tray | 169 | m
10.16 | Cables | 1 | item
10.17 | Manhole | 6 | no.
10.18 | 100mm dia uPVC duct | 204 | m
10.19 | Termination, patching labelling etc. all completed | 1 | item
Earthing pits including all cables, earth rods, e-bars, pits,
10.20 | cover accessories, etc. complete. | 1 | item
Earthing pits including all cables, earth rods, e-bars, pits,
10.21 | cover accessories, etc. complete. | 1 | item
ELECTRICAL ENGINEERING INSTALLATIONS, (cont'd.)
Generally
The Contractor shall list and price below, the items and quantities of addition or deduction for any Bill of Quantity Item(s) and or any omitted items that in his opinion are necessary for the full and satisfactory completion of the work as described in the Specifications or shown on the Drawings and for which either expressed or implied provision is required and which are not covered by the items or the rates in the Bill of Quantities. Any such items not listed below shall be deemed to be included.