## BOQ
[5 empty] | 14.86 |  | 14.86
# | Description | Quantity | UOM | Dry Price | Dry Amount | Selling Price | Selling Amount | Remark
1 | AIR-CONDITIONING INSTALLATIONS
1.1 | FAHU including control valves, control panel, filters, strainers, sensors, wiring, fixing accessories, vibration isolators, etc. complete as per drawing. Unit will be limited to Supply Fan, Chilled water cooling coil etc. Consider make : Trosten, Finpower/ SKM or Equivalent | 1 | No.
1.2 | FAHU-01 | 1 | Nos | 14.86 | 14.86 | 14.86 | 14.86
| 1C x 25mm2 XLPE/PVC/SWA/PVC | 2 | m | 7.43 | 14.86 |  |  | 14.86
1.3 | Ecology Unit including control panel, filters, strainers, sensors, wiring, fixing accessories, vibration isolators, etc. complete as per drawing Consider make : Trosten, Finpower/ SKM or Equivalent | 1 | No.
1.4 | ECO-01 | 1 | Nos
Fan coil units including control valves, control panel, filters, strainers, sensors, wiring, fixing accessories, vibration isolators, etc. complete as per drawing Consider make : Trosten, Finpower/ SKM or Equivalent
1.5 | FCU-01 | 2 | Nos
1.6 | Supply and Install of Modification of Chilled water pipework with all related fittings, insulation, and all necessary secondary support steel work for FAHU and new fan coil units; in accordance with the drawings. Black steel pipes and fittings; ASTM A53; schedule 40 and Elastomeric rubber insulation considered | 1 | Item
1.7 | Condensate drain pipe with Insulation ( uPVC Class-E Pipe and Elastomeric Insulation considered) | 1 | Item
1.8 | Thermostat Connection | 1 | Item
Duct Work &amp;amp; Insulation
1.9 | Supply & Return, Pre Insulated rectangular duct work including necessary supports and accessories for Fan coil unit | 1 | Item
1.10 | Supply & Install of galvanized rectangular duct work including Elastomeric rubber Insulation with necessary supports and accessories as per drawing | 1 | Item
1.11 | Supply & Install of Fire rated rectangular duct work including with necessary supports and accessories as per drawing approved by Civil defence. | 1 | Item
1.12 | Acoustic Insulation | 1 | Item
1.13 | Volume control damper | 1 | Item
1.14 | Fire Damper | 1 | Item
1.15 | Motorized Damper | 1 | Item
1.16 | Air Terminal Units | 1 | Item
1.17 | Fresh air and extract air louvers | 1 | Item
1.18 | Testing & Commissioing | 1 | Item
2 | PLUMBING INSTALLATIONS
2.1 | Supply & Install of above ground soil, waste and vent pipework; including fittings, and ancillaries in accordance with the drawings. Considered make : Cosmoplast, Hepworth or Equivalent | 1 | Item
Supply and install of drainage Specialty Items and accessories in accordance with the Drawings.
2.2 | Floor Drain | 3 | Nos
2.3 | Floor Cleanout, Heavy duty | 2 | Nos
2.4 | Trench Drain | 2 | Nos
2.5 | Supply and installation of sump pump including sump pits, control panel and all necessary connection and accessories, complete; all in accordance with on Drawings | 1 | Nos
2.6 | Supply and installation of grease trap Including connection and flow-control fittings, complete; all in accordance with the Drawings and description. (Above ground grease trap considered along with dosing system and 20 Ltr biological liquid) | 1 | Nos
2.7 | Supply & Install of Cold water PPR Pipework; including fittings, and ancillaries in accordance with the drawings. 25 Metre Allowed for Pipe connection | 1 | Item
Supply &amp;amp; Install of Hotwater PPR Pipework; including fittings, and ancillaries in accordance with the drawings. Flexible elastomeric Insulation considered
2.8 | 25 mm Dia Pipe | 1 | Item
Supply and installation of control valves , including all related fixing materials, complete; all in accordance with the Drawings
2.9 | Gate Valves | 2 | Nos
2.10 | Pressure regulating valve | 1 | Nos
2.11 | Automatic air vent | 1 | Item
2.12 | Drain point | 1 | Item
2.13 | Water Hammer Arrester | 1 | Item
2.14 | Supply & Installation of PEX Pipe and fittings Including PEX Conduit, Brass fittings, Adaptor , Plastic BOX etc | 1 | Item
2.15 | Supply and installation of water meter including, valves, supports, connections, complete; all accordance with Drawings | 1 | Nos
2.16 | Supply and installation of electric water heater (80L) including fittings, Connections, supports, etc and accessories Considered make : Ariston , Atlantic (France), Ferroli (Italy) or equivalent | 1 | Nos
3 | FIRE FIGHTING INSTALLATIONS
Sprinklers Pipes Pipe work including fittings, joints (screwed, welded or flanges), hangers and supports, pipe sleeve, painting &amp;amp; fire rated sealant; etc., complete
3.1 | 25 mm dia. Pipe | 35
3.2 | 32 mm dia. Pipe | 25
3.3 | 40 mm dia. Pipe | 10
3.4 | 50 mm dia. Pipe | 10
3.5 | 80 mm dia. Pipe | 35
3.6 | Connections to / interface with the existing system | 1 | Item
The following items including accessories, supports, etc. complete
3.7 | Pendent Sprinkler Head | 28 | Nos
3.8 | Fire Extinguisher | 1 | Item
3.9 | Modification and Sprinkler alignment of Kitchen area as per RCP | 1 | Item
3.10 | Testing & Commissioing | 1 | Item
4 | ELECTRICAL INSTALLATIONS
4.1 | Supply and Install of containment and cabling for light Point(PVC conduit and PVC cables) Including all outlets, required accessories, final sub-circuit with wires/cables, conduit, conduit fittings, junction boxes, draw boxes, support, from distribution board to terminations points | 45 | Points
4.2 | Supply & Installation of switches with required back box and wiring | 1 | Item
Supply and install power devices including fixings and accessories MK, PVC/WP as required
4.3 | 13A Single Switched Socket | 18
4.4 | 13A Twin Switched Socket | 5
4.5 | 13A Single Switched Socket, Weather Proof | 6
4.6 | 13A Un switched fused spur outlet | 2
4.7 | 13A Switched Fused connection with neon indicator | 4
4.8 | 15A Switched Socket Outlet | 5
4.9 | Industrial Socket Outlet | 2
Isolator
4.10 | 20A TPN | 2
4.11 | 32A TPN | 3
4.12 | Floor Box | 19
Termination and modification of 315A SMDB (Available at site)
4.13 | SMDB(1 Nos) | 1
Supply and install distribution boards including fixings and accessories
4.14 | DB | 2
Supply and install control panel for HVAC Equipment
Supply and install of Power cables; including containment, terminations and accessories
4.15 | 4C 10 SQMM- XLPE/SWA/PVC + 1C 10 SQMM ECC - Ecology | 1 | Item
4.16 | 4C 10 SQMM- XLPE/SWA/PVC + 1C 10 SQMM ECC - FAHU | 1 | Item
Supply and install of Smoke Detector with standard base
Supply and install of Heat Detector with base
Fire Alarm Manual Call Point
Supply and install of ceiling mounted speaker
Fire Alarm Sounder with Strobe
Addressable Fire Alarm Control Panel
Coordination 24x 7 Civil Defense Panel
Testing &amp;amp; Commissioing of System
Self contained LED Exit light surface mounted type
Self contained LED Emergency light - Surface/Suspended
Self contained Emergency light - Surface/Suspended
Emergency Light Panel
Supply and Install of containment Including conduit, cable tray, fittings, supports and accessories for following. 1. Lighting 2. Power Supply 3. Low current system
5 | PRELIMINARIES
Testing and commissioning, including operating completed installations and commissioning of Equipment’s (Appointing of any third-party is excluded, Necessary water, fuel and power shall be provided at free of cost)
Identification, which shall include labels, charts and color coding etc
Allowable for documentation, including the shop drawings, submittals, O&amp;amp; M manual etc
Fencing or Bollard for Equipment Protection
We have allowed only for sprinkler arrangement as per RCP in our drawing
Pendent sprinkler arrangement only considered in our offer
Scaffolding for MEP Installations
Kitchen hood and suppression system
LPG System
Core cutting excluded
Supply of light fitting, sanitaryware and kitchen equipments

## Resource
Total Dry Amount (AED) | 14.86 | Code | Name | Quantity | UOM | Total
Total Selling Amount (AED) | 14.86 | 3001000f | 1C x 25mm2 XLPE/PVC/SWA/PVC | 2 | m | 14.86

## Category
Total Dry Amount (AED) | 14.86 | Category | Amount | Percentange
Total Selling Amount (AED) | 14.86 | Material | 14.86 | 100%